## ModBus
ModBus | Inputs (MB_1) |  | Counters (MB_4) |  | Coils (MB_0)
0 | Field E-stop | N/C L0.1 | Field IO Connection | See IP Page | Watchdog
1 | Red 1 E-stop | N/C RDS-14 | Red Processer | RIO-6/7 | Counter, A-stop, & E-stop Reset
2 | Red 1 A-stop | N/C RDS-15 | Blue Processer | BIO-6/7 | Stack Light Green | L0.4
3 | Red 2 E-stop | N/C RDS-12 |  |  | Stack Light Orange | L0.3
4 | Red 2 A-stop | N/C RDS-13 |  |  | Stack Light Red | L0.2
5 | Red 3 E-stop | N/C RDS-10 |  |  | Stack Light Blue | L0.1
6 | Red 3 A-stop | N/C RDS-11 |  |  | Stack Buzzer | L0.5
7 | Blue 1 E-stop | N/C RDS-14 |  |  | Field Reset Green Light | DS-0/1-GS1
8 | Blue 1 A-stop | N/C BDS-15 |  |  | Red Truss Light Outer | BIO-4/5
9 | Blue 2 E-stop | N/C BDS-12 |  |  | Red Truss Light Middle | BIO-2/3
10 | Blue 2 A-stop | N/C BDS-13 |  |  | Red Truss Light Inner | BIO-0/1
11 | Blue 3 E-stop | N/C BDS-10 |  |  | Blue Truss Light Outer | RIO-4/5
12 | Blue 3 A-stop | N/C BDS-11 |  |  | Blue Truss Light Middle | RIO-2/3
13 | Red 1 Ethernet Connected | RS-GE-2 |  |  | Blue Truss Light Inner | RIO-0/1
14 | Red 2 Ethernet Connected | RS-GE-3
15 | Red 3 Ethernet Connected | RS-GE-4
16 | Blue 1 Ethernet Connected | BS-GE-2
17 | Blue 2 Ethernet Connected | BS-GE-3
18 | Blue 3 Ethernet Connected | BS-GE-4
19
20
21
22
23
24
25
26
27
28
29
30
31
32

## IP Address
10.0.100.1 | Internet router
10.0.100.2 | Field AP | Vivid Hosting
10.0.100.3 | Layer 3 Switch | Cisco
10.0.100.5 | Event Server
10.0.100.31 |  | Advatek controller
10.0.100.32 |  | Advatek controller
10.0.100.33 |  | Advatek controller
10.0.100.34 |  | Advatek controller
10.0.100.40 | PLC | Allen Bradely | 1769-L24ER-QBFC1B
10.0.100.41 | Red DS ArmorBlock | Allen Bradely | 1732E-16CFGM12 | Connection Bit 0
10.0.100.42 | Blue DS ArmorBlock | Allen Bradely | 1732E-16CFGM12 | Connection Bit 1
10.0.100.43 | Red ACC ArmorBlock | Allen Bradely | 1732E-16CFGM12 |  | Not used 2025
10.0.100.44 | Blue ACC ArmorBlock | Allen Bradely | 1732E-16CFGM12 |  | Not used 2025
10.0.100.45 | Red IO Link ArmorBlock | Allen Bradely | 1732e-8IOLM12R | Connection Bit 2 | Truss
10.0.100.46 | Blue IO Link ArmorBlock | Allen Bradely | 1732e-8IOLM12R | Connection Bit 3 | Truss
10.0.100.47
10.0.100.48 | Red Stratix Switch (Layer 2) | Allen Bradely
10.0.100.49 | Blue Stratix Switch(Layer 2) | Allen Bradely
45